The City of Lafayette    Water Works Plant

Annual Report

2017

Ron Hurst, Assistant Superintendent

Lafayette Water Works Mission Statement

The Lafayette Water Works is municipally owned and operated water Utility.  It is our purpose under the direction of the Mayor, Common Council, Board of Public Works and Safety and Superintendent, to provide its customers with potable water, with adequate pressure, quality and quantity and to work with the Fire Department to maintain the fire hydrants and distribution system that provides fire protection to its customers.

To accomplish this purpose we will pursue professional ethics that promotes public health and safety, consumer confidence, customer service, responsible operations, preventative maintenance, accurate laboratory testing, reliable reporting and compliance with EPA and the Indiana Department of Environmental Management Regulations, AWWA Standards and other safety programs, showing fiscal responsibility to maintain the best user rate possible for our customers.

Andrew Moore, Operations and Lab

STAFF

The Operations Department consists of one Operations & Lab Foreman, four System Operators, and one Lab Technician. The Operations & Lab Foreman, two System Operators, and Lab Technician are all certified with a WT-2 Water Treatment license. One System Operator is certified with WT-3 and WT-5 Water Treatment licenses. The Operations & Lab Foreman, two System Operators, and Lab Technician retain a DSL Large Distribution System license.

Service

We provide service twenty-four hours a day, seven days a week, with assistance of an ‘on-call’ person. We received at least 1532 service calls in the year 2017, which averages out to 128 calls a month. These calls occurred during nights, weekends, and holidays, and consisted of turning on water service, changing out water meter chambers and screens, thawing frozen meters, and much more. There are emergency service requests that we respond to consisting of everything from broken mains, water pipe breaks in homes and businesses, and fire hydrants that have been broken off by vehicles, etc. We also assist the Customer Service Department, Distribution Department, and Maintenance Department here at the Water Works, plus assist the Police, Utility Billing, Facilities Maintenance, Parks, Water Pollution Control, and the Street Departments’ when they are in need of assistance.

Quality

We perform, at a minimum, two rounds of inspections and tests per eight hour shift to ensure water quality and to ensure proper water treatment process operation at Canal Road Well Field, Glick Well Field, and Columbian Park Booster Pump Station. Cl2 readings are taken at two remote locations within the city and all 14 wells and 6 booster pumps are inspected for proper pumping operation. Building Maintenance/Upkeep is a large undertaking and we make sure janitorial responsibilities are met, painting is kept up, and everything is in good repair.

We monitor, with the assistance of our Supervisory Control And Data Acquisition (SCADA) system, the water levels in our (1) five million gallon enclosed reservoir located at Columbian Park, our (1) two million gallon elevated water tower located at Haggerty Lane, and our (3) one million gallon elevated water towers located at Union Street, Fairgrounds, and Plaza South. The system will alarm when a problem occurs with high/low water levels, well and pump failures, electrical power failures, and security. If the operator is away from the office the SCADA system will send notifications to a smart-phone carried by the operator to let them know about problems as they occur.

Security

On a daily basis we provide a level of security at all locations making sure the areas are well lit, locked, and that security cameras are working properly. We ensure security systems at each of our locations are working properly by logging into a smart-phone application and making sure they are armed and ready at the end of each day.

Aim

We in Operations are dedicated to moving the City of Lafayette Water Works Operations Department forward in giving our customers the best quality water possible, by keeping up with Federal and State regulations, streamlining our processes for better efficiency, providing the customers the quantities of water needed by maintaining suitable water levels, assisting with keeping our production of water up, and improving and updating our water system’s security from attack.

Summary

During the first half of 2017 we had a System Operator move to a different department.  Another person was hired to fill the vacant System Operator position. This resulted in much time being dedicated to training and ensuring day-to-day operations continued smoothly. During this time the City was also implementing our new Tyler-Munis system, which was a departure from familiar ways of doing things. This new system required considerable time and training to get used to, but has proven to be an effective tool when fulfilling our customer service duties.

Despite the setbacks that training new personnel can bring, we have continued our focus on improving the way our department operates by itself and with other departments. This effort has included cross-training with the Maintenance Department and tackling operational difficulties as a combined effort. Considerable time and effort has been put into developing standard operating procedures and field materials for operating our entire system manually, without the use of computers and automation. Training exercises for these new procedures and materials will be conducted in 2018, and will involve both Operations and Maintenance departments. The purpose of this training is to ensure that our staff is prepared to keep our operation running in the event of an extended loss of power, loss of automation, or natural disaster scenario.

We in Operations have also strived to provide the best quality water, and most efficient treatment operation possible, by researching, planning, and testing new feed equipment and product metering devices to replace and update equipment that has been in service every day for over ten years. This effort will continue throughout 2018.

Along with maintaining our day-to-day operations, we have assisted the Customer Service Department with disconnects, service calls, meter-reading, and the meter change-out program. During winter months, all System Operators and the Operations & Lab Foreman are available to assist with snow removal as well as water main repairs if necessary.

| City of Lafayette Water Works |  |  |  |  |
| --- | --- | --- | --- | --- |
| 2017 Usage Report. GALLONS PUMPED; TOTAL GALLONS; GALLONS REPUMPED. MONTH; CANAL; GLICK; CANAL & GLICK; PARK. January; 97,943,000; 129,386,000; 227,329,000; 187,996,694. February; 82,086,000; 125,571,000; 207,657,000; 175,173,622. March; 59,704,000; 167,119,000; 226,823,000; 181,924,401. April; 78,299,000; 165,319,000; 243,618,000; 198,420,331. May; 93,213,000; 164,735,000; 257,948,000; 208,841,726. June; 150,994,000; 168,845,000; 319,839,000; 237,344,096. July; 145,315,000; 169,910,000; 315,225,000; 234,620,377. August; 187,466,000; 162,973,000; 350,439,000; 260,867,528. September; 187,757,000; 149,028,000; 336,785,000; 243,858,149. October; 173,696,000; 125,319,000; 299,288,000; 223,648,629. November; 215,972,000; 27,164,000; 243,136,000; 174,789,594. December; 242,130,000; 0; 242,130,000; 150,486,962. Yearly Total; 1,714,575,000; 1,555,369,000; 3,270,217,000; 2,477,972,109. Monthly Average; 142,881,250; 129,614,083; 272,518,083; 206,497,676. Monthly Minimum; 59,704,000; 0; 207,657,000; 150,486,962. Monthly Maximum; 242,130,000; 169,910,000; 350,439,000; 260,867,528. |

| City of Lafayette Water Works |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Production Report |  |  |  |  |  |
| Year | Annual Pumpage Canal | Annual Pumpage Glick | Total Annual Pumpage | Daily Average | Maximum Day Pumpage |
| 2012 | 1,323,113,015 | 2,123,043,745 | 3,446,156,760 | 8,457,818 | 16,758,747 |
| 2013 | 774,364,506 | 2,270,884,739 | 3,045,249,245 | 8,343,198 | 13,821,852 |
| 2014 | 983,135,872 | 1,763,795,924 | 2,746,931,796 | 7,849,298 | 10,965,016 |
| 2015 | 1,740,452,106 | 1,423,177,936 | 3,163,630,042 | 8,667,479 | 14,348,981 |
| 2016 | 1,412,890,000 | 1,841,200,000 | 3,254,090,000 | 8,915,315 | 16,655,283 |

# Water Works Laboratory

Wellhead Protection Program

As part of the Well Head Protection program, wells at the Canal and Glick well fields and the adjacent old City Golf Course are sampled and tested for volatile organic compounds. Nine Canal & five Glick production wells are tested once a year. Forty-one monitoring wells are tested monthly and bi-annually for volatile organic compounds at the old City Golf Course. Samples are sent to independent certified labs for analysis.

As the Water Works Lab Technician, we keep updated files of all WHP test results, updating and comparing results monthly.  We also complete monthly IDEM Reports.

Lead and Copper Project

In 2017, 30 homes were tested for lead and copper. As in the past we organize and supervise this program, communicating with a certified chemistry lab. We also supply residents with preserved sample bottles and collect paperwork. Results are reported to IDEM and test results are mailed to all residents.

Results: Ninety percent of samples were at or below:

| 2016 | Lafayette | EPA’s Maximum Allowed |
| --- | --- | --- |
| COPPER | .484 mgL | 1.3 ppm |
| LEAD | 1.1 ug/L | 15 ppm |

Lafayette adds a specially blended polyphosphate designed to minimize corrosion scale, and red water conditions (Iron). Since we continue to be in compliance with State and EPA lead and copper regulations, we have been granted “reduced monitoring” status for the upcoming years, testing once every three years.

Consumer Confidence Report (CCR)

2017 was the 20th year for the annual water quality report for customers or “Consumer Confidence Report.  The finished report contains water quality information and testing results, including charts explaining the presence of any man-made or natural chemicals, minerals, etc. Information is also supplied to the Town of Dayton.  Even though they purchase water from us, they still need to create their own CCR Report. The report was approved by IDEM, mailed out with water bills and posted on the Internet.

Bacteria Testing In the Distribution System

Public water systems must collect total Coliform samples at sites that are representative of water throughout the distribution system.  This is done according to a written sitting plan approved by the commissioner. The monitoring frequency for total Coliforms for community water systems is based on the population served by the system.  This requires Lafayette Water Works to collect 70 bacteria samples a month, derived from population base (59,001-99,000). We monitor within the outer boundary of the system monthly. These samples are sent to a State Certified Lab, and tested for Total Coliforms. The test results are faxed to IDEM within forty-eight hours, and are kept on file.

Other Duties

- Oversee daily operation of lab and equipment

- Keep inventory and order supplies

- Prepare reagents

- Keep accurate, up-to-date records

- Keep up on current and proposed regulations

- Create new report forms, charts, graphs, etc.

- Quality control tests

- Responsible for various reports:

  - Monthly Report Operations(MRO)

  - Daily Lab Report

  - Lead and Copper Report(Pb-Cu)

  - Consumer Confidence Report(CCR)

  - THM’s & HAA5 (Trihalomethanes-Haloacetic Acids)

### 2017 Water Sampling and Analysis

TEST				SITES				FREQUENCY

| Lead and Copper | Residents’ homes | 30/ Every three yrs. |
| --- | --- | --- |
| 42 Volatile Organics | Individual Canal and Glick Wells | Monthly—Total of about 120 in 2017 |
| 42 Volatile Organics | Canal and Glick Entry Points | 2nd Qtr. Only. ( Waiver) |
| Bacteria Samples | Distribution System | 70/month—840 in 2015 |
| Alkalinity, pH, Phosphate, Temperature | Distribution System | 10 sites 4Xyear |
| 13 Inorganics | Canal and Glick Entry Points | Waiver/ Every three yrs. |
| Synthetic Organic | Canal and Glick Entry Points | Reduced monitoring |
| THM’s /HAA5 | Distribution System | 4 / Sites per Qtr. |
| Combined Chlorine, Phosphate, Fluoride, pH | Canal and Glick Entry Points | Daily (by System Operators) |

Pat Schultz, Maintenance Foreman

Staff

The Maintenance Department consists of one maintenance foreman and three maintenance personnel.

The main duties of this Department are to effectively monitor and perform maintenance on all the pumping equipment, recognizing small problems before they escalate to larger ones. We perform bi-weekly, monthly, bi-monthly, quarterly, bi-annual, and annual testing on our pumping equipment, generators and the chemical feed systems.  We tabulate the combined data to determine which wells and pumps are the best candidates for the Annual Well Rehabilitation Program. The data collecting, record keeping, presentation, and well maintenance forms have been acclaimed as the best in the State.

A preventive maintenance program is performed on all pumping equipment and chemical feed equipment, such as oil changes, greasing, calibration, and signal checking. The Maintenance staff also has the duties of Water Tower calibration, rinsing, cleaning and proper illumination and security testing.

Our staff also assists with security maintenance, installation of security lighting, repairing of motion detectors, testing of devices such as battery efficiency, and lighting devices.  We are on call twenty-four hours a day, seven days a week. We have responded to calls such as SCADA malfunctions, pump motor problems, automatic valves not reacting properly, etc.

We have worked with the Distribution Department on repairing broken mains, unplugging water lines and repairing service line leaks. We have also assisted in helping the Customer Service Department in reading meters during severe weather conditions along with installing new water meters and snow plowing.

The staff also assists in the general up-keep of the Water Departments facilities, electric, plumbing, HVAC, and the buildings appearance.

The Maintenance Department goals are to provide a safe and continuous flow of quality water to our customers. Our thorough Well and Pump Testing, as well as our excellent preventive maintenance programs allow the Water Works Department to deliver the highest in quality and most cost efficient product to our customers.

Inspections and Reports:	Bi-Weekly, Monthly, Quarterly, Annually

- Wells and Pumps, Flows, Meters, Electrical, Packing, Construction Preventative,       Alignments, Towers

- Water Treatment Systems, Chlorine equipment,

- Electrical ~ Emergency Generators, Lighting & Batteries

- Tools ~ Inventory for Vehicles and Storage

- Calibration and testing Chlorine and Hydrogen sensors

Wells, Pumps & Gen-Sets

- Cleaned all valve pits

- Changed oil, oil filters and fuel filters in all three Gen-Sets

- Cleaned all drain-back valves, tested

- Assisted with annual hoist inspections

- Changed motor oil at all wells

- Canal well #7 was refurbished

- Packing adjusted at all wells

- Installed new smaller phosphate pump.

- Installed new pump motors on Canal wells #3,#5

- Installed new pump motor on Glick well #1

- Repaired air relief on Glick well #5

- Replaced block heater thermostat on Gen-set at CPBPS

- Repaired actuators and louvers

Water Treatment Process

- Cleaned flow meters at all pumping stations

- Repaired and maintained phosphate, chlorine, Re-Ox, fluoride & ammonium sulfate systems

Water Towers/Reservoir

- New gateway communications set up for reading city water service meters.

- Monthly tower inspections

- Rerouted water lines on cla-valve at Haggerty tower

Electrical

- Wired 480 incoming power to pump motors on Canal wells #3,#5 and Glick #1

- Replaced 24DC volt timer on CPBPS pump #1

- Assisted A1 computers in the erection of 2-60 foot communication towers @ fire station #8 and @ the corner of Greenbush and Elmwood St

- Ran 120 AC power and cat 6 communication wire to both towers

Building Maintenance

- Repaired various security lighting

- Assisted with annual hoist inspections at all facilities

- Repaired roof leaks at Canal and Glick building

- Installed new ballasts in various lighting fixtures

- Replaced filters and cleaned AC units at all facilities

- Changed oil in all air compressors

- Keeping sidewalks and entrances safe at water works locations during the winter

- Installed new low maintenance plastic rollers on north gate (top & bottom)

- Replaced a section of door jam on walk-in door in truck bay

- Installed fire extinguishers on riding mowers

- Busted concrete on sidewalk and loading dock and poured new concrete

- Replaced backflow on boiler in maintenance building

SCADA

- Replaced batteries for security systems

Steve Moore, Chief of Distribution

The Construction Department was able to assist other City Departments on many occasions in 2017. We help other departments with snow removal by plowing two routes on the North end.  We also work closely with the Street Department during street paving to assure that we replace any broken valves or hydrants “before” the street is repaved. The Water, Street, Fire, Parks and Waste Water Departments have a long history of working together.  In return, we have received help from them on any occasion that we have asked.

Distribution System Accomplishments for 2017

- Fire hydrants replaced	33

- Fire hydrants repaired	44

- Leaks repaired		37

- Broken mains repaired	52

- Retire old lead services   8

- New services		246

- Updated services	12

- Salt pumps		0

- Valves replaced		12

- Valves Repaired            5

- Installed 200 ft. of 2” diameter water line for Memorial Island project at Columbian Park, and installed 5 yard hydrants for irrigation.

Utility Locator

Utility Locators perform an invaluable service for the Water Works and the City of Lafayette.  They electronically locate the City’s water mains and mark them on the ground with blue paint/flags.  The Utility Locators are also responsible for marking the City owned fiber conduits along Greenbush Street and Brady Lane with orange paint/flags.  Without these locations there could easily be a large service outage to business and citizens of Greater Lafayette and surrounding areas. Locators also respond to emergency locates that are called in after hours and on weekends and holidays.

In house projects include; maintaining the map log conversion to the grid system, log new maps into the map logs and grid system, complete ARC GIS corrections, updating the fire system, placing fire hydrant marker sticks on fire hydrants that are not easily seen,

Utility Locators 2017 Accomplishments

  - Reviewed and logged into the system new maps

  - Drew new maps for the Distribution System.

  - Number of utility locates completed 22,328 responded to 515 emergency locate requests, and assisted contractors working in and around the city with locate information.

  - Assisting Intra Water Works/Other City Departments.

  - Continuation of the ARC GIS corrections	.

Hydrant Flushing Program:

Each year, 6 workers flush nearly 3300 fire hydrants in the spring and fall flushing programs. Flushing mains help to determine what is happening in the system and shows any buildup of iron or manganese in specific areas. This is also an opportunity to operate the hydrants to assess the need for maintenance or repair.  A census of the hydrants is also made at this time, which allows updating of information used by other City Departments.

Water Main Inspection:

We have contracted with M.E. Simpson to utilize Sonar Equipment to examine Water Mains to try and determine the remaining life of the pipe. We examined 6” diameter cast iron water main on Prairie Ln from Elmwood Ave around to Vinton Street and determined that main needed to be replaced. The 6” diameter cast iron water main on Ulen Ln North of Greenbush Street was also examined. The 6” diameter cast iron water main on Prairie Ln will be replaced in 2018. The 12” diameter cast iron water main on Wabash Ave was examined and it was determined that it needed replaced in 2018. All Mains will be replaced with ductile iron pipe, and Prairie Ln will increase in size to an 8” diameter pipe.

Water Facility Inspector:

The Inspector for the Lafayette Water Works Plant is responsible for hydrostatic, bacteria testing and facility inspections.  These duties are performed according to a set of guidelines to assure that all new water connections are done according to City Standards.

Facilities Inspectors 2017Accomplishments

  - Performed 32Hydrostatic tests

  - Performed 299 Bacteria tests

  - Performed 5 Well Separation inspection

  - Attended 25 Preconstruction Meetings

  - Reviewed new maps

  - Inspected and checked right of ways on 45 fire hydrants

  - Performed 248 site and facility inspections

  - Performed 131 meter and meter pit inspections

  - Performed 13 Hard flush on Fire lines

  - Assisted with utility line locations

  - Assisted Construction and Meter Department crews

  - Set up Summer Help in painting 377 Fire Hydrants

  - Painted fire hydrants

  - Striped 21 fire hydrants

  - Attended Safety Awareness Class

  - Assisted Customer Service as needed

  - Attended TCPWQ Workshop

  - Witnessed chlorination’s and de-chlorinating

  - Helped Backflow Inspector as needed

  - Assisted Clean up before Christmas Parade

  - Attended DSL review class

Joe Davenport, Backflow/Cross Connection Inspector

The Backflow/Cross Connection Inspector is responsible for tracking the annual backflow test results for all backflow devices in the City of Lafayette’s potable water system, performing annual site surveys to identify any new hazards at a facility, assist in identifying the appropriate backflow device(s) required in new construction, tracking the annual gauge calibration certificates for all backflow testers who submit results and helping with continuing education of local backflow device testers.

- Tracked and entered 1,247 Backflow Test Results

- Performed 117 Site Surveys

- Striped 19 Private Hydrants

- Performed 286 Inspections

- Delivered 38 Notices To Test backflow assemblies

- Delivered 9 Notices To Install backflow assemblies

- Helped to train the new Utility Locator

- Helped Water Facility Inspector as needed

- Helped to log and file incoming maps

- Performed 1 Bacteria Test, in the absence of the Water Facility Inspector

- Filled in for our Utility Locators as needed

- Made corrections to ARC/GIS and MyGIS manager online mapping

- Continuing to verify fire line sizes for our Utility Billing Dept.

Steve Moore, Safety Officer for the City of Lafayette and Chairperson of the Safety Steering Committee.

As Safety Officer I am responsible for the enforcement of all City safety policies. As Chairperson for the Safety Steering Committee I preside over a Committee that is comprised of representatives from each City Department. We meet monthly at The Water Works Plant to discuss activity from Departmental Safety Committees; there we explore ways to prevent accidents to ensure the safety of all City Employees.

Mission Statement

It is the mission of the Safety Steering Committee of the City of Lafayette to increase and maintain the commitment of employees in health and safety issues; to increase awareness that supervisors and employees are primarily responsible for the prevention of workplace accidents; to make safety activities an integral part of the City of Lafayette`s procedures and culture; to provide an opportunity for the free discussion of safety problems and solutions; to help reduce the risks of workplace injuries; and to help ensure compliance with federal and state health and safety standards.

Chuck Reynolds, Chief of Customer Service

Our Customer Service Field Techs were successful in attaining a perfect safety record for the year 2017. With the new Tyler-Munis system in place our team achieved completion of 19,268 service orders, 2,303 disconnects for nonpayment, and 3,223 meters changed from Sensus brand meters to R900I Neptune radio read meters. We are also adding meter setting hangers to settings where meters are difficult to reach in the pit settings where applicable. There have also been multiple meter pits raised and lowered to accommodate soil grade for homeowners.

We are now receiving radio readings thru 6 Gateway towers located at or near Meijer’s, Fire stations 7 and 8, Plaza South tower, Facilities building on Greenbush and Elmwood, and also Columbian Park booster station. This is generally yielding us approximately 11,000 to 12,000 good reads per day. Our system is comprised of Neptune and Sensus brand meters has 29,292 active accounts. Another advantage that we have in reading our system is a Neptune radio read vehicle unit, and several handheld devices used for the collection of meter reading and customer consumption history.

Other department tasks also involve grounds maintenance duties with trimming, mowing, planting, mulching, dirt work, spraying, edging, and seeding during the warmer months of the year. Snow plowing and salting are done as needed during the winter months of the year. Meter testing is also performed on meters where accuracy is brought into question to ensure a fair and accurate accountability for our product. We have also started doing a meter audit system insuring that our meter size, serial numbers, and bypass water valves are valid and pad locked.